Материал 1

Исключен kmp по причине сложности перевода

# Материал 2

EXCITER RECTIFIER BRIDGE (ROTATING RECTIFIER ASSEMBLY)

The exciter rectifier bridge is mounted on the exciter rotor, inboard, facing the main rotor. It consists of a positive plate and a negative plate, split diametrically. Each carries three diodes, three terminal posts for connecting exciter rotor leads to the diode pigtails and a terminal for the main rotor (generator field) lead. A surge suppressor is connected across the two plates to prevent transient voltages that could damage the diodes.

Материал 3

Исключен kmp по причине сложности перевода